## MAINTENANCE SCHEDULE
Preventive Maintenance Schedule for the Cold Chain Facilities
Cold Room
January | February | March | April | May | June | July | August | September | October | November | December
Vaccine Chambers (fridges)
January | February | March | April | May | June | July | August | September | October | November | December

## CALIBRATION SCHEDULE
Calibration Schedule for the Temperature Monitoring Devices
Updated: 05/08/24
s/n | NAME | DESCRIPTION | ID TAG | DEPT/ AREA | LAST CALIBRATED | NEXT CALIBRATION DATE | STATUS
1 | Cold Room 1 | Logtag Temperature Recorder | 1050049420 | Vaccines | 2025-07-07 | 2026-07-06 | Active
2 | Cold Room 2 | Logtag Temperature Recorder | 1050049421 | Vaccines | 2025-07-07 | 2026-07-06 | Active
3 | Cold Room 4 | Logtag Temperature Recorder | 1050049423 | Vaccines | 2025-07-07 | 2026-07-06 | Active
4 | Cold Room 5 | Logtag Temperature Recorder | 1050049424 | Vaccines | 2025-07-07 | 2026-07-06 | Active
5 | Cold Room 6 | Logtag Temperature Recorder | 1050049425 | Vaccines | 2025-07-07 | 2026-07-06 | Active
6 |  | Logtag Temperature Recorder | 1050049422 | Vaccines | 2025-07-07 | 2026-07-06 | Active
7 | C | Logtag Temperature Recorder | 1050042205 | Vaccines | 2025-07-07 | 2026-07-06 | Active
8 | D | Logtag Temperature Recorder | 1050042206 | Vaccines | 2025-07-07 | 2026-07-06 | Active
9 |  | Logtag Temperature Recorder | 1050042203 | Vaccines | 2025-07-07 | 2026-07-06 | Active
10 | A | Logtag Temperature Recorder | 1050042204 | Vaccines | 2024-08-09 | 2025-08-08 | Active
11 | B | Logtag Temperature Recorder | 1050042209 | Vaccines | 2024-08-09 | 2025-08-08 | Active
12 | C | Logtag Temperature Recorder | 1050042208 | Vaccines | 2024-08-09 | 2025-08-08 | Active
13 | D | Logtag Temperature Recorder | 1050042207 | Vaccines | 2024-08-09 | 2025-08-08 | Active
14 | E | Logtag Temperature Recorder | 1050042210 | Vaccines | 2024-08-09 | 2025-08-08 | Active
15 | F | Logtag Temperature Recorder | 1050054505 | Vaccines | 2024-08-09 | 2025-08-08 | Active
16 | G | Logtag Temperature Recorder | 1050054506 | Vaccines | 2024-08-09 | 2025-08-08 | Active
17 | I | Logtag Temperature Recorder | 1050054504 | Vaccines | 2024-08-09 | 2025-08-08 | Active
18 | J | Logtag Temperature Recorder | 1050042201 | Vaccines | 2024-08-09 | 2025-08-08 | Active
19 | Cold Room Entrance | Logtag Temperature Recorder | 6061035336 | Vaccines | — | — | Active
20 | Blank | Logtag Temperature Recorder | 1000988899 | Vaccines | 2023-08-03 | 2024-08-01 | Not Active
21 | Placeware 1 | GRICD Motes (GRD2348689) | 180322000003876 | Vaccines | 2025-08-29 | 2026-08-28 | Active
22 | Placeware 2 | GRICD Motes (GRD2317197) | 180322000003886 | Vaccines | 2025-08-29 | 2026-08-28 | Active
23 | Placeware 3 | GRICD Motes (GRD2321112) | 180322000003882 | Vaccines | 2025-08-29 | 2026-08-28 | Active
24 | Placeware 4 | GRICD Motes (GRD2321112) | 180322000003368 | Vaccines | 2024-08-06 | 2025-08-05 | Not Active
25 | Abuja 1 | Logtag Temperature Recorder | 1050054445 | Vaccines | 2025-09-08 | 2026-09-07 | Active
26 | Abuja 2 | Logtag Temperature Recorder | 1000341873 | Vaccines | 2025-09-08 | 2026-09-07 | Active
27 | K | Logtag Temperature Recorder | 1050042202 | Vaccines | 2025-09-08 | 2026-09-07 | Active
28 | A | Min/ Max Alarm External Thermometers | 10400209 | Vaccines | 2025-09-11 | 2026-09-10 | Active
29 | B | Min/ Max Alarm External Thermometers | 10400087 | Vaccines | 2025-09-11 | 2026-09-10 | Active
30 | C | Min/ Max Alarm External Thermometers | 10400220 | Vaccines | _ | _ | Not Active
31 | D | Min/ Max Alarm External Thermometers | 10400095 | Vaccines | 2025-09-11 | 2026-09-10 | Active
32 | E | Min/ Max Alarm External Thermometers | 10400088 | Vaccines | 2025-09-11 | 2026-09-10 | Active
33 | F | Min/ Max Alarm External Thermometers | 10400092 | Vaccines | — | — | Not Active
34 | G | Min/ Max Alarm External Thermometers | 10400098 | Vaccines | — | — | Not Active
35 | H | Min/ Max Alarm External Thermometers | 10400218 | Vaccines | — | — | Not Active
36 | I | Min/ Max Alarm External Thermometers | 10400096 | Vaccines | 2023-08-03 | 2024-08-01 | Not Active
37 | J | Min/ Max Alarm External Thermometers | 10400091 | Vaccines | — | — | Not Active
38 | Cold room | Min/ Max Alarm External Thermometers | 10400100 | Vaccines | 2023-08-03 | 2024-08-01 | Not Active

## OTHERS
2023 Preventive Maintenance Schedule
Light : Meter should be observed on the 1st day of every month to keep track of number of units used monthly
Generator
| January | February | March | April | May | June | July | August | September | October | November | December
Dispatch Motorcycle
| January | February | March | April | May | June | July | August | September | October | November | December
Computer Systems
| January | February | March | April | May | June | July | August | September | October | November | December
Inverter
| January | February | March | April | May | June | July | August | September | October | November | December
Air Conditioners
| January | February | March | April | May | June | July | August | September | October | November | December
Prepared by: Busayo Tinuoye